|  | INSPECTION INFORMATION |  |  |  |
| --- | --- | --- | --- | --- |
|  | Building: Lab Number: Date: |
|  | Responsible Faculty/Staff: |
|  | Name of person completing survey: |  |
|  | Primary Function; Academic / Research / Services |  |  |  |
|  | GENERAL SAFETY REQUIREMENTS | Yes | No | N/A |
| 1 | Is an updated emergency green card posted on the lab entrance door? |  |  |  |
| 2 | Is an updated EHS Lab Manual accessible to all lab personnel? |  |  |  |
| 3 | Have lab personnel attended a 2hr. Lab Safety Training session within the past year? |  |  |  |
| 4 | Is there an evacuation route posted in the lab? |  |  |  |
| 5 | Is there a working phone in the lab? |  |  |  |
| 6 | Do lab personnel know who to call in the event of a spill? |  |  |  |
| 7 | Is the general lab ventilation working? |  |  |  |
| 8 | If a drench shower is available, is it accessible? |  |  |  |
| 9 | Has the drench shower been inspected? |  |  |  |
| 10 | If eyewash station is available, does it function properly? |  |  |  |
| 11 | Has the eyewash station been inspected? |  |  |  |
| 12 | Is the eyewash station accessible and free of clutter? |  |  |  |
| 13 | Is a first aid kit easily accessible and stocked in the lab? |  |  |  |
| 14 | Are doors closed and secured during and after occupancy? |  |  |  |
| 15 | Are movable parts guarded on equipment as appropriate? |  |  |  |
|  | ELECTRICAL SAFETY |  |  |  |
| 16 | Is the electrical panel accessible? |  |  |  |
| 17 | Are plugs, cords, and outlets in good condition? |  |  |  |
| 18 | No overloaded outlets or daisy chained power strips? |  |  |  |
| 19 | Extension cords do not pose trip hazards (taped down)? |  |  |  |
| 20 | Power strips kept away from liquids? |  |  |  |
| 21 | No power cords found under doors, carpets or through ceilings? |  |  |  |
| 22 | Are GFI's in use where appropriate? |  |  |  |
|  | LABORATORY SAFETY |  |  |  |
| 23 | Do lab personnel know where to find material safety data sheets? |  |  |  |
| 24 | Are applicable standard operating procedures available to lab users? |  |  |  |
| 25 | Does the lab have a chemical hygiene plan? |  |  |  |
| 26 | Are beakers, test tubes and flasks clearly labeled to identify contents? |  |  |  |
| 27 | Are chemical storage cabinets clearly labeled? (i.e., flammables, corrosives) |  |  |  |
|  | HOUSEKEEPING |  |  |  |
| 28 | Is the lab neat and orderly? |  |  |  |
| 29 | Is there minimial glassware on bench tops? |  |  |  |
| 30 | Is there minimal glassware in the sink? |  |  |  |
| 31 | Is there minimal glassware in the fume hood? |  |  |  |
| 32 | Are exits, aisles, and corridors not blocked and is the minimum width 24 inches? |  |  |  |
| 33 | Are chemicals stored off of the floor? |  |  |  |
| 34 | Is the glass window on the lab entrance door free from obstruction? |  |  |  |
| 35 | Are lab users complying with the no eating and drinking policy in the lab? |  |  |  |
| 36 | Are refrigerators/freezers being used and labeled for storage of chemicals only? |  |  |  |
|  | FIRE SAFETY |  |  |  |
| 37 | Are there fire extinguishers in the lab? |  |  |  |
| 38 | Have the fire extinguishers been inspected within the past year? |  |  |  |
| 39 | Are fire extinguishers fully charged? |  |  |  |
| 40 | Are fire extinguishers clearly identified with a sign? |  |  |  |
| 41 | Are fire extinguishers accessible (not blocked)? |  |  |  |
| 42 | Is storage clearance from ceiling 18" with sprinklers or 24" without sprinklers? |  |  |  |
| 43 | Is there a fire blanket and is it easily accessible in the lab? |  |  |  |
| 44 | Are the majority of flammable materials stored in flammable storage cabinets? |  |  |  |
| 45 | Minimal combustible materials in space ie., cardboard, paper, books, curtains? |  |  |  |
|  | COMPRESSED GAS CYLINDERS |  |  |  |
| 46 | Are contents of gas cylinders clearly labeled? |  |  |  |
| 47 | Are gas cylinders firmly secured to walls or lab benches or are they properly secured with floor stands? (This includes lecture size compressed gas cylinders.) |  |  |  |
| 48 | Are valve protection caps placed on cylinders not in use? |  |  |  |
| 49 | Are empty gas cylinders properly secured and marked as empty? |  |  |  |
| 50 | Are gases properly segregated? |  |  |  |
|  | PERSONNAL PROTECTIVE EQUIPMENT |  |  |  |
| 51 | Are closed toe shoes and long pants worn by lab personnel? |  |  |  |
| 52 | Are lab coats worn by lab personnel? |  |  |  |
| 53 | Are gloves worn by lab personnel while handling chemicals? |  |  |  |
| 54 | Is eye protection being worn by lab personnel? |  |  |  |
|  | FUME HOODS |  |  |  |
| 55 | Has the annual calibration been performed on each fume hood? |  |  |  |
| 56 | Is the proper sash height indicated? |  |  |  |
| 57 | Is the sash at or below the marked approval level? |  |  |  |
| 58 | Does the fume hood lighting work properly? |  |  |  |
| 59 | Are audible/visual alarms functional? |  |  |  |
| 60 | Functional fume hoods not being used for long term storage? |  |  |  |
| 61 | Are experiments at least 6" inside the hood? |  |  |  |
|  | CHEMICAL SAFETY |  |  |  |
| 62 | Is less than 10 gallons of flammables stored outside of flammable storage cabinets? |  |  |  |
| 63 | Is an explosion proof refrigerator available for chemical storage? |  |  |  |
| 64 | Are incompatible materials properly segregated? |  |  |  |
| 65 | Are chemicals stored safely away from the edges of counters and shelves? |  |  |  |
| 66 | Are ethers and other peroxide formers dated upon receipt and when opened? |  |  |  |
| 67 | Are water reactive chemicals stored inside cabinets? |  |  |  |
| 68 | Are pyrophoric chemicals stored inside cabinets? |  |  |  |
| 69 | Are chemical containers in good condition? |  |  |  |
| 70 | Are storage cabinets and shelves in good condition? |  |  |  |
|  | CHEMICAL WASTE DISPOSAL (310 CMR 30) |  |  |  |
| 71 | Is there an SAA sign demarcating the waste storage area in the lab? |  |  |  |
| 72 | Are satellite waste containers labeled with a UML Hazardous waste label? |  |  |  |
| 73 | Are the appropriate hazard boxes checked on the Hazardous waste label? |  |  |  |
| 74 | Is each chemical constituent written out without abbreviation or formulas? |  |  |  |
| 75 | Are waste containers stored in secondary containment? |  |  |  |
| 76 | Are waste containers kept closed unless being worked with? |  |  |  |
| 77 | Are wastes properly segregated by hazard class? |  |  |  |
| 78 | Are lab users complying with the UML "NO" pour down the drain policy? |  |  |  |
| 79 | Are hazardous waste labels easy to read? |  |  |  |
| 80 | Are stock chemicals stored separately from waste chemicals? |  |  |  |
| 81 | Are full satellite waste containers dated and removed within 72 hours? |  |  |  |
| 82 | Are secondary containment bins free of spilled chemical waste? |  |  |  |
| 83 | Are satellite waste containers in good condition? |  |  |  |
| 84 | Are rigid cardboard boxes available for the collection of lab glass? |  |  |  |
| 85 | Are the lab glass waste boxes in good condition? |  |  |  |
| 86 | Are sharps (broken glass, pipettes, needles, razors etc.) being disposed of properly? |  |  |  |
| 87 | Are sharps containers less than 3/4 full? |  |  |  |